THE PROSPECTS OF RAINWATER HAVESTING IN HO CHI MINH CITY

Nguyen Thuy Lan Chi(1), Phan Đạo(1), Hoàng Khánh Hòa(2)

- Ton Duc Thang University

(2)Vietnam Institute for Tropical Technology and Environmental Protection

nguyenthuylanchi@tdt.edu.vn

phandao@tdt.edu.vn

ABSTRACT

Wisely using of natural water resources to serve human needs plays a decisive role in ensuring water and food security. In the natural water cycle, rainwater is considered as a valuable renewable resource. Rainwater harvesting (RWH) for daily life and production is simple but effective and also environmentally sound measure. This one is also a positive solution in climate change adaptation strategy. However this resource are being wasted in our country in general and in HCM City in particular. This paper overviews the status of rainwater use in the world; the general situation, the potential of rainwater collection and a number of issues related to the potential of rainwater harvesting in the city. Some solutions to enhance the use of rainwater and improve water supply for city residents also suggested in this discussion.

I. USING OF RAINWATER - WORLDWIDE SOLLUTON

Clean water is facing to deep changes due to global climate change. The "Report on water resources development" of the United Nations in 2006 indicated that the combination of two phenomena of low rainfall and high evaporation in many regions has reduced water levels in rivers, lakes and groundwater levels. In this situation rainwater is considered a valuable renewable resource. Rainwater harvesting for daily live and production is commonly used in most countries with different levels for thousands of generations now. This can be considered as a simple but effective and also environmentally sound measure. The purpose and basis of the utilization of rainwater vary in each country.

In Europe rainwater is used as a supplementary source. For example, in Germany, the use of rainwater is encouraged to conserve groundwater. Denmark and the Netherlands are also encouraged efforts to utilize rainwater in the same way as in Germany. In the United Kingdom The UK Rainwater Harvesting Association have formed with the goal of promoting and encouraging the development of rainwater harvesting industry, to ensure the best warranty service for customers of raw materials, spare parts of rainwater harvesting systems, public awareness on the benefits of using rainwater.

In Africa it is also trying to enhance the project to collect rainwater for improving the living conditions for people. As reported by the UN Environment Programmed (UNEP), Africa has abundant potential of rain water, even rainwater can meet from 6 to 7 times of the current water demand of Ethiopia and Kenya if the countries take rights storage measures. It is estimated rainfall over the entire territory of Africa can meet the needs of 9 billion people. However, rainwater harvesting for water supply has not been widely adopted by many factors including the impact of economic factors. Some wherever statistics show that a woman (sometimes the children) have to walk an average of about 6 km to carry 20 kg of water by putting on her head or caring on the back. To alleviate this burden for women and children, many projects of installation of rainwater tanks have been supported by non-governmental organizations in Kenya.

In the U.S., on the run-of water is collected and stored in large reservoirs, then pre-treated and finally recharged to the groundwater table. In the Andes of South America, rainfall is often very low, but the fog is often hovering close to the ground. People use black shields to collect condensation water. By this method, with the shield of 3600m2, the amount of water can be obtained is about 11m3 per day.

In Asia, rainwater becomes an important source in both rural and urban areas. Examples are as follows: In Tokyo (Japan), the utilization of rainwater or seeping rainwater into the soil is promoted by the active participation of citizens in order to prevent flooding and restore streams. Box 1 presents an example of a mitigation of water reservoir exploitation by utilizing rainwater for sanitary purposes in Tokyo.

Box 1 - The plan for using rainwater for the city of Tokyo If all households in Tokyo collect rainwater, the total capacity would be staggering numbers. The number houses in Tokyo is about 1.5 million, the he average size roof is of 60 m2. With average annual rainfall of 1500 mm, water reserves are: 60m2*1.5 m (1500 mm)*1.5 million = 135 million m3. Notably, this figure higher than the amount of water taken from Yagisawa reservoir in the district of Gumma for Tokyo (126 million m3). In short, many "small-tank" will be combined with a large water reservoir. If each individual house has 4 people and often used about 790 liters water per day, the rainfall that would be lost can be recovered for use against the total amount water per day is: (60 m2*1.4 m): (800l* 365 days)*100 = 29%. The amount of water used for sanitation account for 22% of total water consumption of a family, so it is possible to use rainwater collected for this demand.

In the agricultural area northeast of Thailand, there is no large rivers flow through, ground water is saline so that people have used rainwater for so long. Singapore is a typical example of rainwater utilization. Previously, there are 03 traditional water supplies in the island including local water resources (mainly water in small streams), imported water from Malaysia and filtered seawater. Only in 1992, the country began using rainwater at Changi Airport. Currently 80% of the water activity of the Changi International Airport is from storm water, rainwater is taken from the airport runway and is used for sanitation. In Yogyakarta of Indonesia infiltration of rainwater into the ground is mandatory duty to conserve the city's groundwater water sources.

The International Conference on Rainwater Use hosted by Japan was held in Sumida City, Tokyo from in May 1994. The message of the conference is "Using rainwater to save the Earth - Develop close relationships with rainwater in the city." In this workshop, members offer ideas on the use of rainwater and together find a way to save rainwater. This conference also launched the policy and technology related to the use of rainwater, changing people's thinking about rainwater. Results of the conference have formed an information network on the global use of rainwater. There are 05 key points are summarized by the Conference as follows:

1. Population in Asia, Africa and Latin America will continue to reside mainly in large cities, so these cities face to the problems of "Drought and floods in city"

2. Profound lessons wasting and discharging of rainwater into the sewers of Tokyo, and recently, the people of Tokyo have created technologies that efficient use of rainwater to help solve the problem "Droughts and Floods in city"

3. Utilization of rainwater is the responsibility of the entire world, associated with the "Sustainable Development of Cities"

4. The problem with using rainwater directly related to acid rain and air pollution

5. Build the habits of using rainwater in the cities, which have abundant rainfall.

II. RAIN WATER RESOURCES IN HO CHI MINH

2.1 Annual Rainfall

Ho Chi Minh City has relatively abundant rainfall. The average rainfall in the period 1995-2007 reaches to about 1962 mm. In many years annual rainfall have passed the level of 2000 mm. Particularly, some years (2000) up to 2730 mm (see Figure 1). In general rainfall in the city is much larger than the rainfall in Tokyo (about 1500mm/year).

Figure 1 - Annual rainfall in the period 1995-2007 at Tan Son Hoa

An important feature is that the rainy season is relatively long in the city; the rainfall is relatively evenly distributed during the rainy period (from April to November). Maximum monthly rainfall reaches 281mm-495 mm in the period from 1995 to 2007. Average monthly rainfall during the rainy season is from 153mm-302 mm. Rainfall during the rainy months occupies 87% - 99% (see Table 1, Figure 2)

Table 1 - Distribution Characteristics of Monthly rainfall in HCMC (mm)

|  | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Month. Max | 493 (VIII) | 281 (VII) | 475,3 (VII) | 466,6 (VI) | 417,3 (XI) | 478 (VI) | 364,1 (VI) | 292,1 (X) | 347,1 (X) | 355,9 (VII) | 388,6 (X) | 349 (VIII) | 495,4 (IX) |
| Mony Average | 251,1 | 199,7 | 219,8 | 298,9 | 237,0 | 302,4 | 208,8 | 153,1 | 221,7 | 221,4 | 204,7 | 211,0 | 284,2 |
| Rainfall 4-11 | 2009 | 1598 | 1758 | 2391 | 1896 | 2419 | 1671 | 1225 | 1774 | 1771 | 1637 | 1688 | 2273 |
| % years | 96 | 98 | 99 | 95 | 87 | 89 | 91 | 93 | 100 | 99 | 94 | 94 | 97 |

Source: Compiled from statistics of Ho Chi Minh City

Rainfall patterns are fairly distributed as described above is very convenient for the design of appropriate storage capacity (not too big), has captured much rain, just less expensive cost for container. It is may found that rainfall is abundant and distributed fairly evenly throughout the rainy months, the system designed to collect and store rainwater in Ho Chi Minh City is quite favorable.

2.2 Rainwater quality

Some results of storm water quality monitoring in 2011 are shown in Table 3.7. In comparison with Vietnams standards TCVN 5502-2003, it can be seen that the concentration of main parameters in the city's rainwater, such as hardness, NH4-N, N-NO3, Cl much smaller than the threshold for drinking water. The value of pH in areas of high traffic density such as Hang Xanh, Phu Lam is less than 6. It can be determined that is the impact of air pollution in urban central area. Rainwater in the area of Tan Son Hoa has good quality.

Table 2 - Results of rainwater quality monitoring in 2011

|  | TAN SON HOA | HANG XANH | PHU LAM |
| --- | --- | --- | --- |
| In the start period of rainy season |
| pH | 6,48 | 5,63 | 6,5 | 4,92 | 4,83 | 5,10 | 5,14 | 5,31 | 5,03 |
| EC | 54,9 | 13,0 | 78,0 | 30,2 | 52,2 | 34,6 | 27,2 | 38,2 | 34,0 |
| N-NH4 | 1,1 | 0,19 | 1,01 | 0,49 | 0,42 | 0,52 | 0,48 | 0,51 | 0,35 |
| N-NO3 | 1,856 | 0,09 | 3,369 | 2,286 | 0,524 | 1,518 | 1,867 | 0,506 | 2,232 |
| SO2-4 | 2,7 | 4,1 | 2,7 | 3,5 | 4,3 | 3,3 | 3,2 | 3,1 | 3,5 |
| Cl | 3,1 | 3,0 | 3,0 | 1,9 | 2,3 | 2,3 | 2,0 | 2,3 | 2,3 |
| Hardness | 0,0 | 0,0 | 0,0 | 0,0 | 0,0 | 0,0 | 0,0 | 0,0 | 0,0 |
| Alkalinity | 0,09 | 0,07 |  | 0,0 | 0,0 | 0,04 | 0,0 | 0,04 | 0,0 |
| In the end of rainy season |
| PH | 6,4 | 6,02 | 6,11 | 6,02 | 5,64 | 5,61 | 5,91 | 5,83 | 5,72 |
| EC | 10,7 | 8,2 | 14,9 | 36,3 | 42,2 | 32,6 | 20,2 | 31,8 | 41,7 |
| N-NH4 | 0,00 | 0,19 | 0,07 | 0,34 | 0,25 | 0,22 | 0,43 | 0,29 | 0,25 |
| N-NO3 | 0,129 | 0,221 | 1,927 | 0,335 | 0,568 | 1,988 | 0,386 | 0,436 | 1,889 |
| SO2-4 | 4,2 | 2,7 | 2,4 | 2,7 | 2,9 | 3,0 | 2,7 | 2,7 | 2,8 |
| Cl | 3,1 | 3,9 | 3,9 | 1,9 | 3,0 | 3,0 | 1,6 | 1,6 | 3,3 |
| Hardness | 0,0 | 0,0 | 0,0 | 0,0 | 0,0 | 0,0 | 0,0 | 0,0 | 0,0 |
| Alkalinity | 0,12 | 0,1 | 0,1 | 0,1 | 0,05 | 0,04 | 0,08 | 0,08 | 0,06 |

Source: Sub-Institute of Hydrology and Environment, 2011

III. CURRENT SITUATION IN RAINWATER USE

3.1 	Popularity

According to preliminary investigation results on the use of rainwater in some districts of Ho Chi Minh City, the practices of rainwater harvesting in the city is very limited. Results of randomly survey of 400 households show that only 80 of those (20%) take collecting, storage and use of rainwater for a number of different purposes. The highest percentage of households using rainwater is in Can Gio district (about 57.50%), this one comprises about 20% in the areas such as Binh Chanh, Binh Tan, District No7, No 8 and Nha Be. In other areas including Thu Duc, Districts No12, No2, No9 the percentage varies from 8% to 10%.

3.2	Forms of collecting rain water storage

Survey showed that actually the forms of rainwater collecting and storage in the city is very diverse with different sizes from small ceramic jars to large-scale models of tanks with a capacity of 2-5m3 which are made of plastic or composite. The form and scale are applied depending on economic conditions of each family. Some typical forms of rainwater collection are described below.

- The firth form is in poor households. For these ones roofs is made by water coconut leaf. Gutters are made of aluminum, steel or even of wood. Containers usually are ceramic jars. Depending on economic capacity that families can buy more or less number of the jars. In general, the containing volume is very little, only about 300-600 liters (about 50-10 of small ceramic jars). Rainwater is used mainly in the rainy season to save money to pay for water purchased from the water satellite station.

- The second one is the average scale in households residing in long time. This scale is common for households with medium income levels, relatively long settlement time, and experience of collecting and storage rainwater. The roofs are made of iron sheets or even by coconut leaf, but with large area and are designed with the intention to collect rainwater. Storage instruments may be ceramic jars or cement tanks or cylinders, but much larger. Storage rainwater is as the main sourse for all activities of the family: eating, bathing, washing and even used to irrigate crops and livestock.

- The third is the large scale in high-income households. In wealthier families, houses are built of brick, tile roofs or flat roofs. Rainwater collection system has relatively built in large scale. Storage capacity in these households is large with high volume cement tanks (1.5 to 2 m3). Through interviews, the households reported that rainwater is the main source of water supply. With a capacity up to 10m3 these households can provide adequate water during the rainy season and lasts about 2-3 months in dry season

- The fourth one in rainwater collecting in the industrial enterprises. This form is popular in the water shortage areas such as Can Gio, Binh Chanh.  Actual survey found that many industrial facilities have rainwater collection systems of large scale. The collecting roofs are usually made by steel sheets and have large area. Comosite or plastic tanks whith a capacity of about 10m3 or larger are common.

3.3	Examples of real potential

Potential use of rainwater in reality was examined in more detail in the rainwater storage system of the family of Mr. Nguyen Van Tat, An Nghia village, An Thoi Dong Commune. The information has been recorded as follows:

- Mr. Tat's family has 7 people; rainwater has been collected thoroughly from the roof tiles of main house and from the fibro-cement roof at the side house. Rainwater is used for daily personal activities such as eating, bathing and washing, and also used for raising pigs and horticulture.

- The time of the survey was 11/2011. All containers are full of rainwater. The collection began in April 2011 and lasted during the rainy season. The family uses only rainwater for everyday living. The amount of rainwater collected can be used within 8 months.

- Total area of roof for rainwater collection is estimated as of 150 m 2.

- Estimated total capacity of 34 containers (consists of about 40 liter/jar) and 4 cement tanks (of 1.6 m3 per tank) is about 10 m3.

- If calculated according to the norms of the reserves from rainwater collection system we can assess the potential use in reality of rainwater per person as follows: area = 21.4 m2 inspiration, per person; cylinders: 1.4 m3/nguoi; water collected on the time used is 8 months = 240 days * 60 liters / person / day = 14,400 liters.

- The specific case of the family could confirm that the ability rainwater harvesting for domestic purposes is in high reality. In the context of well designed such as this typical case, the other households may also be self-sufficient up to two thirds (8/12 months) of their water needs.

3.4	Comments

Through surveying the actual situation of rainwater harvesting in some districts of Ho Chi Minh City, some comments on this issue are as follows:

- Rainwater source has collected by many households for the purpose of domestic activities
- Rainwater collection systems are simple, the materials used are cheap and available locally.

- With housing patterns present in the city, if the container is invested enough, collected rainwater can meet the basic needs of domestic activities in the rainy season and may be extended to a certain period of dry season.

- Water collection systems are rudimentary. Almost systems have no coarse filter, first-flush diverter and facility for treatment of stored rainwater.

IV.	PROPOSED SOLUTIONS

4.1 Objectives

Rainwater harvesting in the districts facing of water shortage to improve water supply conditions is essential and also has great potential. The maintenance practices of rainwater using and development a citywide system have huge social and environmental meanings. Objectives of implementation of proposed measures are to achieve the followings:

- Improvement of water supply for communities in the suburban districts, especially for poor households in communes with difficult economic conditions.

- Reduce the increasingly demand pressure on water supply of Ho Chi Minh City through a section meet of local water needs

- Reduce the cost of price subsidies that are suffering from HCM City every year for the water shortage areas

- Maintain and develop the habits of sustainable water use in the suburbs.
- Reduce environmental damage caused by exploitation, processing and transporting water from other places to remote areas.

4.2 General orientation of solutions

With the above objectives, a number of solutions to enhance the exploitation of rainwater for domestic water supply are proposed as follows:

- Implement programs to raise awareness of the importance of exploitation and using of rainwater. Giving local communities and managers to understand the huge benefits of saving and conserving water resources through the use of rainwater.

- Overall survey on the status and the ability of promoting of rainwater collection systems in residential areas.

- Develop programs to encourage and support the poor households storage devices such as gutters, water tanks.

- Development of additional collection and storage network of rainwater at agencies, offices, schools, and public areas. Make use of rainwater for various purposes such as sanitation, irrigation to save water sources.

- In the planning for long-term water supply for districts attention should be taken on the exploitation option of large-scale rainwater harvesting projects in each locality.

4.3 Technical solutions

- Research for choosing of suitable and cheap materials for rainwater collection and storage system on the basis of materials that are locally available.

- To study on the manufacture of large-volume containers to replace the present traditional water containers (ceramic jars, concrete tanks)

- Manufacturing and guide people to use the tools to improve water quality such as coarse filter, first-flush diverter and facility for treatment of stored rainwater.

- In the possible conditions, investment should be taken to gradually replace the thatched roof, thatch, coconut water leafs with zinc coated roof or tile roof to increase the coefficients of rainwater harvesting and also the water quality.

V. CONCLUSION

1. Freshwater resources of the city are under pressure of urbanization and industrialization. Ensuring clean water to all areas of the city is very difficult and costly, especially for those where lack of clean water source such as Can Gio, Binh Chanh, Nha Be. The pressure of the water supply is strong because of demand of water supply in the city are growing day by day to meet the requirements of socio-economic development.

2. The practices of rainwater use are still prevalent in the community of city dwellers. Rainwater collection system simple, the materials used are cheap and available locally. However, some parts of the population tend to pay little attention to this water and have expressed to rely on the city's water supply.

3. The potential of rainwater harvesting for domestic water supply is in high reality. If rainwater-harvesting system could be designed well, they may resolve a significant demand for fresh water, especially during the rainy months in the many areas of the city.

4. The use of rainwater brings huge benefits, including economic, social and environmental ones, it also contribute to the protection and saving of water resources for the city.

5. Rainwater storage harvesting systems are simple, inexpensive, easy to install so as can be applied widely in the community. The development of this solution is convenient because the residents have their own traditions and good experience.

6. It is suggested that the city should have policies and guidelines on the utilization of rainwater, advocating everyone involved to take advantage of rainwater, and save city's water resources. There should be the need to develop mechanisms for to support poor households collection and storage devices. In addition to rainwater storage networks for family size, in the long-term water supply planning for the city large-scale rainwater harvesting should be concerned.

REFERENCES

Netherlands Water Partnership. “Smart Water Harvesting Solutions, Examples of innovative low-cost technologies  for rain, fog, runoff water and groundwater” 2007

National technical standards on environment, 2008. Ha Noi publishing house.

Co-ordination office of rural water and environmental sanitary partner relationship, ministry of agriculture and rural development. Legal document on rural water supply and environmental sanitary, August 2009.

Janate Worm, Tim van Hattum. “Rain Water Havesting for Domestic use”. Agromisa Foundation and CTA, Wageningen, 2006

http://vietnannet.vn/dataiages/orginal/cauca.jpg